## Slide 1
Supply Chain Management
Strategic Plan & Scope
Network Design
Deployment
High Level Network Architecture
Field Maintenance
Operations & Maintenance
Post-Launch Engineering
Deployment
Deployment Management
I&C: Inside Plant
to Operations
Network HLD
Network LLD
Selected Equipment & Vendors
Business Strategy
Site Construction Management
Site Survey
Fiber Construction Management
I&C: Outside Plant

## Slide 2
Vendor Management
Management/Oversight
  Kickoff
  Project Plan
  Milestone tracking
  Stakeholder Management
  Reporting
Site Construction RFI/RFP
Tech Specs
Area specific specs
Architecture & HLDs
Tech Specs
Vendor Management
Test & Acceptance (checklist)
Vendor evaluation and selection
------------
Contracting / MSA
Site Construction
LLDs / Site Engineering Document
Site Survey
Site Solution
Site Construction Management
1
2
3
Vendor Selection
RFx template

## Slide 3
Site Construction
Site
Survey
Site Survey
Site Survey
Site Acquisition
Site Permits
Generate Technical Site Survey Report
Generate Site Engineering document
Carry out Structural Analysis
Power Installation
Equipment Installation
Antenna Installation
Cable Installation
Validated?
Yes
No
Redesign
Produce Site Construction Work Order
Eng. Design
(RF+Tx)
A
Start Site
Construction
A&E
Analysis
Civil
Works
Electrical & Mechanical
Works
Power and Equipment Installation
Acquisition and Permits
Site Acq.
B
Site Inst.
Tower Assembling and Erection
Shelter / Cabinet Erection
Antenna Mounts supply and installation
Cable construction components
A1
A2
A3
Power construction components
Grounding & Lightning components
B
Start Site Installation
Construction Acceptance
New Tower
Site
Existing Tower
Site
Rooftop
Site
Start Site Installation
Fencing / Shelter foundation
Tower Foundation
Existing Tower reinforcement
A1
A2
Rooftop reinforcement
A3
New Tower
Site
Rooftop
Site
A
Start Site Construction
Site Preparation
Civil Works Material Transport
Existing Tower
Site

## Slide 4
RFI/RFP Process
Site Solution Catalogue
RF Requirements
TX Requirements
Site Construction considerations
Technical Site Survey
Technical Site Survey Report
Location
Access
Tower
Power
Grounding
Cabling
Report
Drawings
Photos

## Slide 5
Site Solutions
New Tower Site
Planned Load
Vendor Construction Partner to design Tower components based on Planned Load
Existing Site
Existing Load
New Load
Demand – Capacity Ratio increased by 5% ?
FEASIBILITY STUDY
Construction Vendor requires to execute Comprehensive Structural Analysis
Structural Analysis not required
Yes
No

## Slide 9
Fencing / Shelter foundation
Tower Foundation
Existing Tower reinforcement
A1
A2
Rooftop reinforcement
A3
New Tower
Site
Rooftop
Site
A
Start Site Construction
Site Preparation
Civil Works Material Transport
Existing Tower
Site

## Slide 10
Tower Assembling and Erection
Shelter / Cabinet Erection
Antenna Mounts supply and installation
Cable construction components
A1
A2
A3
Power construction components
Grounding & Lightning components
B
Start Site Installation
Construction Acceptance
New Tower
Site
Existing Tower
Site
Rooftop
Site

## Slide 12
Towers & Rooftops
Antenna Mounting Structures
Cable Layout
Construction components
Power Supply
Construction components
Equipment Shelter
Construction components
Site Grounding
Construction components

## Slide 28
Section 3.1.2.1

## Slide 29
Section 3.1.2.1

## Slide 30
Section 3.1.2.1

## Slide 31
Section 3.1.2.1

## Slide 32
Section 3.1.2.1

## Slide 33
Section 3.1.2.1

## Slide 34
Section 3.1.2.2

## Slide 35
Section 3.1.2.2

## Slide 36
Section 3.1.2.2

## Slide 37
Section 3.1.2.3

## Slide 38
Section 3.1.2.3

## Slide 39
Section 3.1.2.3

## Slide 40
Section 3.1.2.3

## Slide 41
Section 3.1.2.3

## Slide 42
Section 3.1.3

## Slide 43
Section 3.1.3

## Slide 44
Section 3.1.3

## Slide 45
Section 3.1.3

## Slide 46
Section 3.1.3

## Slide 47
Section 3.1.3

## Slide 48
Section 3.1.3

## Slide 49
Section 3.3.1

## Slide 50
Section 3.3.1

## Slide 51
Section 3.3.1

## Slide 52
Section 3.3.1

## Slide 53
Section 3.3.2

## Slide 54
Section 3.3.2

## Slide 55
Section 3.3.3

## Slide 56
Section 3.3.3

## Slide 57
Section 3.3.4

## Slide 58
Section 3.3.4

## Slide 68
Section 3.5.3

## Slide 69
Section 3.5.3

## Slide 70
Section 3.5.3

## Slide 71
Section 3.5.3

## Slide 72
Section 3.5.3

## Slide 73
Section 3.5.3

## Slide 74
Section 3.5.3

## Slide 75
RFx Preparation
RFx Scope Statement
RFx Project Chart
RFx Project Team
Identify and prequalify Bidders
RFx Execution
RFx Distribution
Queries
Oral Presentations
Evaluation and Selection
Evaluate Proposals
Recommendation and Selection
Contract / MSA
Gather RFx information
Size and Scope
Technical Requirements
Build RFx Document
Information for Bidders
Scope of Work
Proposal documents
Proposals Evaluation
Contract

## Slide 76
RFI/RFP objective
Scope and Deliverables
RFP Instructions
RFP Terms and Conditions
Site Solutions
Construction Services
Power Requirements
Shelter Requirements
Tower Requirements
Operational Model
Safety Requirements
RFI/RFP Document
Grounding Requirements
Cabling Requirements

## Slide 77
Primer Standard and Regulations Civil Aviation, Environmental and Radiation Emissions

## Slide 81
Template B - Template B_Site Construction RFI_RFP_template_2020.06.03

## Slide 82
Tower mounted Cabinets:
Power
Baseband
Battery
RRUs and Antennas
MW Antenna