## 0. Cover
Site Construction Acceptance checklist Template
<Release Date>

## 1. General Information
CONSTRUCTION SITE ACCEPTANCE
Vendor Area: | [7 empty] | Performed by: | [8 empty] | Document Pages.
0
Approved (supervisor): | [8 empty] | Reference Code (Vendor): | [7 empty] | Date:
1. Site Information
Region:
Street: | [14 empty] | Postal Code
District: | [14 empty] | State:
Municipality:
Coordiantes (Decimal) |  |  | Latitude | [7 empty] | N |  | Altitude (amsl):
|  |  | Longitude | [7 empty] | W
Location References:
Site Contact: | [13 empty] | Phone:
1.1 Site conditions
1.1.1 Owner / Manager
1.1.2 Scenario
|  | Outdoor |  |  | Indoor | [6 empty] | On ground |  |  |  |  | Rooftop
|  | Shelter |  |  | Room Equipment | [6 empty] | Other:
1.2 Site Access
|  | Key |  | Permit | [5 empty] | Key padlock | [5 empty] | Codes:
|  | Non restricted |  | Others |  |  | Define:
Key or Pemit obtention indications:
|  | Time Controlled access |  |  |  | Define:
If permit required, specify authorization responsible mail or phone:
Commments:
Document if additional local authorities permits are required.
1.3 Site access sketch
Notes:

## 2. Acceptance Checklist
CONSTRUCTION SITE ACCEPTANCE
| Pass (Y/N) | Comments
1.1. Structure condition
Damage members (legs and bracing)
Loose members
Missing members
Climbing facilities, platforms, catwalks – all secure
Loose and/or missing bolts and/or nut locking devices
Visible cracks in welded connections
1.2. Finish
Paint and/or galvanizing condition
Rust and/or corrosion condition including mounts and accessories
FAA or ICAO color marking conditions
Water collection in members (to be remedied, e.g unplugged drain holes)
1.3. Lightning
Conduit, junction boxes, and fasteners (weather tight and secure)
Drain and vent openings (unobstructured)
Wiring condition
Light lenses
Bulb condition
Controllers (functioning)
Flasher
Photo control
Alarms
1.4. Grounding
Connections
Lightning protection (secured to structure)
1.5. Antennas and Lines
Antenna condition
Mount and/or ice shield condition (bent, loose, and/or missing members)
Feed line conditions (flanges, shields, dents, jacket damage, grounding, etc)
Hanger condition (snap-ins, bolt-on, kellum grips, etc)
Secured to structure
1.6. Other appurtenances (walkways, platforms, sensors, floodlights, etc)
Condition
Secured to structure
1.7. Insulator condition
Cracking and chipping
Cleanliness of insulators
Spark gaps set properly
Isolation transformer condition
Bolts and connections secure
1.8. Guys
Strand condition (corrosion, n¡breaks, nicks, kinks, etc)
Guy hardware condition
Turnbuckles or equivalent (secure and safety properly applied)
Cable thimbles properly in place (if required)
Service sleeves properly in place (if required)
Cable connectors (end fittings)
Cable clamps applied properly and bolts tight
Wire serving properly applied
No signs of slippage or damaged strands
Preformed wraps - properly applied, fully wrapped and sleeve in place
Poured sockets secured and showing no separation
Shackles, bolts, pins and cotter pins secure and in good condition
Guy tensions
Measure guy tensions
Record temperature, wind speed and wind direction
1.9. Concrete Foundations
Ground condition
Settlement, movement or earth cracks
Erosion
Site conditions (standing water, drainage, trees, etc)
Anchorage conditions
Nut and/or nut locking device (tightened)
Grout condition
Anchorages and/or anchor rod condition
Concrete condition
Cracking, spalling, or splitting
Chipped or broken concrete
Honeycombing
Low spots to collect moisture
1.10. Guyed Mast Anchors
Settlement, movement, or earth cracks
Backfill heaped over concrete for water shedding
Anchor rod condition below earth (maintain required structural capacity of anchor during exploration. Attachment to temporary anchorage may be required)
Corrosion control measures (galvanizing, coating, concrete encasement, cathodic protection systems, etc.)
Anchor heads clear of earth
1.11. Tower Alignment
Tower plumb and twist