## Cover
Site Construction RFP Pricing Proposal Document
<Release Date>

## Hoja1
Site Construction Solution | Infrastructure Items | Items Description | UoM | Qty. | RFP Price (USD/Site) # Sites in Range1 | RFP Price (USD/Site) # Sites in Range2 | RFP Price (USD/Site) # Sites in Range2
Solution#1: Monopole Omnidirectional Type1 | Construction components
| Tower | Monopole 7m (with security step bolts)
| Equipment Shelter | N/A
| Tower/Rooftop Mounting structures | Include mounting structures for: 1 omni RF antenna + 1 RRU + 1 BBU + Solar Pannel + 1 MW or VSAT antenna + battery enclosure
| Battery | Outdoor enclosure Lithium Battery Pack (6 hrs) (tower or pole installation)
| Cabling Construction components | Cable hangers for monopole tower
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | Site Fencing for 16m2
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#2: Monopole Omnidirectional Type2 | Construction components
| Tower | Monopole 15m (with security step bolts)
| Equipment Shelter | N/A
| Tower/Rooftop Mounting structures | Include mounting structure for 1 omni RF antenna + 1 RRU + 1 BBU + Solar Pannel + 1 MW or VSAT antenna + battery enclosure
| Battery | Outdoor enclosure Lithium Battery Pack (6 hrs) (tower or pole installation)
| Cabling Construction components | Cable hangers for monopole tower
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | Site Fencing for 25m2
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#3: Monopole Sector Type1 | Construction components
| Tower | Monopole 20m (with security step bolts)
| Equipment Shelter | N/A
| Tower/Rooftop Mounting structures | Include mounting structure for 3 sector RF antenna (3 pipes of 3m) + 3 RRU + 3 BBU + Solar Pannel + 1 MW or VSAT antenna + battery enclosure
| Battery | Outdoor enclosure Lithium Battery Pack (6 hrs) (tower or pole installation)
| Cabling Construction components | Cable hangers for monopole tower
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | Site Fencing for 25m2
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#4: Self-Supported Omnidirectional Type1 | Construction components
| Tower | Self Supported Tower, with 3-leg angular sections (with attached safety ladder)
| Equipment Shelter | N/A
| Tower/Rooftop Mounting structures | Include mounting structure for 1 omni RF antenna + 1 RRU + 1 BBU + Solar Pannel + 1 MW or VSAT antenna + battery enclosure
| Battery | Outdoor enclosure Lithium Battery Pack (6 hrs) (tower or pole installation)
| Cabling Construction components | Tower Cable ladder
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | Site Fencing for 25m2
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#5: Self-Supported Sector Type1 (Outdoor cabinets) | Construction components
| Tower | Self Supported Tower, with 3-leg angular sections (with attached safety ladder)
| Equipment Shelter | Include Foundation of 2mx1m (0.20 depth) for outdoor cabinets
| Tower/Rooftop Mounting structures | Include mounting structure for 3 sector RF antenna (3 pipes of 3m) + 3 RRU + Solar Pannel + 1 MW or VSAT antenna
| Outdoor Cabinets | Outdoor Cabinets for ground installation: 1 Telecom cabinet + 1 Battery cabinet (Lithium Battery Pack (6 hrs))
| Cabling Construction components | Tower Cable ladder + horizontal cable waveguide (5m)
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | Site Fencing for 40m2
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#6: Rooftop Site – Collocation | Construction components
| Tower | Supply and install 4 supports (3m each) on existing poles, masts, guyed tower, etc. (3RF + 1MW)
| Equipment Shelter | Outdoor Cabinets: Include metallic platform for the AC/DC cabinet and equipment cabinet (2mx2m); Include Metallic frame for the AC/DC cabinet
| Tower/Rooftop Mounting structures | Include mounting structure for 3 sector RF antenna (3 pipes of 2.5m) + 3 RRU + 1 MW antenna
| Power Construction components | Power supply to the cabinet from the existing switchboard (5m) and installation of a circuit breaker for feeder protection
| Outdoor Cabinets | Outdoor Cabinets for ground installation: 1 Telecom cabinet + 1 Battery cabinet (Lithium Battery Pack (6 hrs))
| Cabling Construction components | 20m horizontal Waveguide Bridge
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | N/A
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Solution#7: Rooftop Site – New | Construction components
| Tower | 4 masts and supports of 3m each height (3RF + 1MW)
| Equipment Shelter | Outdoor Cabinets: Include metallic platform for the AC/DC cabinet and equipment cabinet (2mx2m); Include Metallic frame for the AC/DC cabinet
| Tower/Rooftop Mounting structures | Include mounting structure for 3 sector RF antenna (3 pipes of 2.5m) + 3 RRU + 1 MW antenna
| Power Construction components | Connection to the AC building power, supplying and installing a meter, switchboard, conduits and AC power cable until the equipment.
| Outdoor Cabinets | Outdoor Cabinets for ground installation: 1 Telecom cabinet + 1 Battery cabinet (Lithium Battery Pack (6 hrs))
| Cabling Construction components | 20m horizontal Waveguide Bridge
| Ground Construction Components | Complete grounding system with connection of all metallic element and electronic system + Lightning rod
| Fencing | N/A
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site
Alternative Rural Site Solution | Construction components
| Tower | To be proposed by Tenderer
| Equipment Shelter | To be proposed by Tenderer
| Tower/Rooftop Mounting structures | To be proposed by Tenderer
| Power Construction components | To be proposed by Tenderer
| Battery | To be proposed by Tenderer
| Cabling Construction components | To be proposed by Tenderer
| Ground Construction Components | To be proposed by Tenderer
| Safety Construction Components | To be proposed by Tenderer
| Fencing | To be proposed by Tenderer
Construction Services
| Project Management | per Site
| Technical Site Survey / Site Solution Design | per Site
| Engineering Analysis / Site documentation | per Site
| Site Construction | per Site